## Slide 1: Development of Low-Cost Methods for Monitoring & Early Warning for Geohazards
Department of Civil Engineering
Department of Electrical & Electronics Engineering
BUET, Dhaka-1000
Research and Innovation Centre for Science and Engineering (RISE)
BUET, Dhaka-1000
RISE Project ID: 2023-02-027
Demonstration Of Devices

## Slide 2
Objectives
Development of a low-cost accelerometer/vibrometer with alert transmitting capability
Development of low-cost inclinometer with alert transmitting capability
Development of early warning systems
Collection of field data

## Slide 3
BUET Low-Cost Accelerometer
Features
Plug and play (after initial configuration)
Record data at 100 SPS (24 x 7)
Stay connected to wireless network
Periodically upload data to the cloud
Send warnings when threshold acceleration crossed
Data can be accessed remotely
Configuration can be updated remotely

## Slide 4
Accelerometer Program Architecture

## Slide 5
BUET Low-Cost Accelerometer Network
BUET, Dhaka
SUST, Sylhet
BAU, Mymensingh
CUET, Chattogram
Locations

## Slide 6
Accelerometer Calibration Test
Figure: Simulation of Chi-Chi Earthquake on Shake Table at CUET

## Slide 7
Time: 2025-07-31 14:26:48 (UTC)
Location: 22.335°N 94.646°E
56 km WNW of Monywa, Burma (Myanmar)
Depth: 123.1 km
Source: https://earthquake.usgs.gov/earthquakes/eventpage/us6000qwy4
Magnitude: M 4.8
Record of a Recent Earthquake

## Slide 8
Record of Recent Earthquake (CUET Station)

## Slide 9
Record of Recent Earthquake (CUET Station)

## Slide 10
BUET Low-Cost Tiltmeter (Inclinometer)
Features
Plug and play (after initial configuration)
Process data at 1 SPS (24 x 7)
Stay connected to wireless network
Periodically upload data to the cloud
Send warnings when threshold angle crossed
Data can be accessed remotely
Configuration can be updated remotely
Integrated UPS (3 hours backup)
Realtime battery health

## Slide 11
Tiltmeter Program Architecture

## Slide 12
Development of Inclinometer
Data Collection Using Inclinometer
Via a data logger
Or an Android-based device
Sensor in probe and processing in drum
Inclinometer components

## Slide 13
Manual Inclinometer (Incomplete)

## Slide 14
THANK YOU

## Slide 15
Frequency Range of Seismic Sources

## Slide 17
Initial Prototypes
Device 2
Device 1

## Slide 18
A complete setup of 2 devices

## Slide 20
Performance Report
Two devices recorded acceleration during the rod test
Acceleration captured at the moment of rod failure
Both devices recorded data at the same timestamp
Recorded acceleration magnitudes differ between devices

## Slide 21
Data recording report from 26 March to 4 April 2025
Date: March 28, 2025 Time (UTC): 06:20:54 Magnitude: 7.7 Location: Myanmar Distance from BUET: 598 km
Recording: Raspberry Shake vs Device 1 & 2

## Slide 22
Accelerometer Data Public Server Demo
Visit: http://52.175.23.51

## Slide 23
Accelerometer Data Realtime Visualization Public Server
Visit: http://52.175.23.51:9051

## Slide 24
File Converter GUI Application(Demo)

## Slide 25
File Converter GUI Application(Demo)

## Slide 26
Soil Movement
Different Types of Slope Movement from the Government of British Columbia
Land Slide in Bangladesh

## Slide 27
Inclinometer
An inclinometer measures lateral displacement by detecting tilt angles over a known length.
Two types of inclinometer by direction:
  vertical
  horizontal
Two types of inclinometer by operation:
  Manual
  In-place

## Slide 29
Casing Installation

## Slide 30
Reading Over Time

## Slide 31
Sample Data from BLCI DL